## Engine list
Sinospect — Engine list
One line per rating. Columns marked * are enough for an initial route — channel comparison, two-configuration basis and proposed test plan follow in writing.
Company
Contact and email
Project and destination market
Date
# | Qty * | Rating (kVA) * | Power factor | Duty (prime / standby) * | Frequency (Hz) * | Speed (rpm) | Governing (mech. / electronic) * | Reference model (optional) | SAE housing / flywheel (if known) | Electrical system (12 / 24 V) | Destination market | Notes
ex. | 10 | 100 | 0.8 | prime | 50 | 1500 | mechanical | 6BT5.9-G2 | SAE 3 / 11.5" | 24 V | West Africa | Repeat batch, quarterly
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20

## How this is used
How this list is used
1. The starred columns fix the buying basis: kVA at the stated power factor, prime or standby duty, frequency and governing type. Every offer line then carries the same declared basis.
2. Each rating is quoted twice — Configuration A on your reference class, Configuration B on the current model sized to the rating — and the two can be mixed line by line.
3. Each quoted line names its source channel: DCEC, CCEC or Chinese OEM equivalent, with the warranty route that goes with it.
4. Reference models are welcome but optional; a reference no longer in production is quoted against its nearest current build, with the differences declared.
Send the completed file through sinospect.com/contact — the initial review is completed in writing.